January 27, 2025

BYTEK VW Expansion Project

1325 St. Laurent Blvd.

### Ottawa, Ontario

Our Ref: 2301

## Addendum N° 10

#### GENERAL

- Provision and Identification of Allowances, Separate Prices and Contingency Allowances in Bid as Follows

  - Contingency Allowance of $200,000.00.

  - Alternate price for 3 fold bifold door at front entrance.

  - Separate price for Basement plumbing replacement.

  - Separate price for Shop and Body Shop plumbing replacement.

  - Separate price for cutting and slab replacement for basement plumbing.

  - Separate price for cutting and slab replacement for Shop and Body Shop plumbing.

  - Separate price for supply and installation of prefinished metal siding on existing Building.

  - Supply and installation of 50 m.sq. of Expona LVT in Basement.

#### ARCHITECTURAL

  - Reference drawings A-505Rv1, A-506Rv1, Ask-3Rv1 and WEISZ Interior Finishes Specifications, Clarification

    - Showroom, Customer Area, NVD

      - PT-1, 24” x 24”

    - Service D/T, Customer Washroom

      - PT-1a, 12” x 12” or 8“ x 8”

    - Showroom Platforms, Offices, Write-up

      - WD1a 200 x 1200, Staggered Bond (Cherry)

    - Showroom Highlite Platform

      - CLT1, 24” x 24”

    - Washroom Wall Tiles

      - CT-1 / CT-2, 8” x 16”, 4” x 12”, 4” x 16”

    - Stairs Finishes

      - Stair No. 1 clarification

PT-1, 24” x 24”

      - Stair No. 2 clarification

PT-1, 24” x 24”

      - Stair No. 3 clarification

WD1a

      - Stair No. 4 clarification

PT-1a, 12” x 12” or 8“ x 8”

      - Stair No. 5 clarification

PT-1a, 12” x 12” or 8“ x 8”

      - Stair No. 6 clarification

PT-1, 24” x 24”

      - Stair No. 7 clarification

PT-1, 24” x 24”

      - Stair No. 8 clarification

WD1a

  - Reference drawings ASK-4Rv1, Clarification

    - Provide proper 2ft frame return around all side. All frame details, dimensions to be coordinated with Sobotec for proper installation and coordination purposes.

  - Reference drawings A-201Rv3, Clarification

    - Provide proper 2ft frame return around all side. All frame details, dimensions to be coordinated with Sobotec for proper installation and coordination purposes.

End of Addendum